8.5 Fire safety and emergency evacuation

Policy statement

We ensure the highest possible standard of fire precautions are in place. The person in charge and our staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer or Fire Safety Consultant. A Fire Safety Logbook is used to record the findings of risk assessment, any actions taken or incidents that have occurred and our fire drills. Downloadable Fire Safety Logbooks are widely available free of charge on line. We ensure our policy is in line with the procedures specific to our building, making reasonable adjustments as required.

Procedures

Fire safety risk assessment

- The basis of fire safety is risk assessment, carried out by a ‘competent person’.

- The manager has received training in fire safety sufficient to be competent to carry out the risk assessment; this will be written where there are more than five staff and will follow the Government guidance Fire Safety Risk Assessment - Educational Premises (HMG 2006).

- Our fire safety risk assessment focuses on the following for each area of the setting:

- Electrical plugs, wires and sockets.

- Electrical items.

- Cookers.

- Flammable materials – including furniture, furnishings, paper etc.

- Flammable chemicals.

- Means of escape.

- Anything else identified.

Fire safety precautions taken

- We ensure that fire doors are clearly marked, never obstructed and easily opened from the inside.

- We ensure that smoke detectors/alarms and fire fighting appliances conform to BS EN standards, are fitted in appropriate high-risk areas of the building and are checked as specified by the manufacturer.

- We have all electrical equipment checked annually by a qualified electrician. Any faulty electrical equipment is taken out of use and either repaired or replaced.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly, at least once every six weeks.

- Records are kept of fire drills and of the servicing of fire safety equipment.

Emergency evacuation procedure

Every setting is different, and the evacuation procedure will be suitable for each setting. It must cover procedures for practice drills including:

- How children are familiar with the sound of the fire alarm.

- How the children, staff and parents know where the fire exits are.

- How children are led from the building to the assembly point.

- How children will be accounted for and who by.

- How long it takes to get the children out safely.

- Who calls the emergency services, and when, in the event of a real fire.

- How parents are contacted.

Fire drills

We hold fire drills at least termly and record the following information about each fire drill in the Fire Safety Logbook:

- The date and time of the drill.

- Number of adults and children involved.

- How long it took to evacuate.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Lockdown procedures

- In some situations, it will be likely that we will be advised to stay put (lockdown) rather than evacuate the premises.

- If an emergency happens the setting manager will quickly assess the likelihood of immediate danger. In most cases the assumption should be that it is safer to stay put and place the setting into ‘lockdown’ until the emergency services arrive.

- In the case of a lockdown situation we will act upon the advice of the emergency services at all times.

Legal framework

- Regulatory Reform (Fire Safety) Order 2005

Further guidance

- Fire Safety Risk Assessment - Educational Premises (HMG 2006)

- Fire Safety Record (Pre-school Learning Alliance 2015)

| This policy was adopted by | Claydon Pre-school | (name of provider) |
| --- | --- | --- |
| On | 16 October 2020 | (date) |
| Date to be reviewed | October 2021 | (date) |
| Signed on behalf of the provider |  |
| Name of signatory | Emily Goodchild |
| Role of signatory (e.g. chair, director or owner) | Chairperson |